CAPEX: Capital expense (cost to build/obtain assets)

OM: Maintenance costs generally not including fuel.

WHEN USING THE SIMULATOR, OPTIMIZE FOR cost40/cost80    NOT $kw. cost40/cost80 are what you actually would pay for the power!

GENERATORS

Solar:

Cost: scenario dependent.

Production: scenario dependent.

Simple model of PV technology.

Wind:

Cost: scenario dependent.

Production: scenario dependent.

Simple model of wind farm technology.

Hydro:

Cost: $3000/kw CAPEX | $60/kw/yr OM.

Production: scenario dependent.

Simple model of hydroelectric technology. Provides 1 free hour of battery storage per 10% peak demand worth of capacity. Production is seasonal, pattern is defined as part of scenario

Nuclear:

Cost: scenario dependent

Production: load following 20-100%. Will dispatch for electrolyzers, thermal storage, and batteries.

Simple model of real life LWR technology. Capable of load following down to 20% load. Variable cost of nuclear operation assumed to be $42.50/kw/yr

Advanced Nuclear:

Cost: scenario dependent

Production: constant only

Simple model of potential GEN IV reactor technology. Can charge thermal storage at 100% efficiency (as opposed to 40% for all other sources). Also produces 1.5x more hydrogen from electrolyzers compared to other sources, for up to 1/3 of total electrolyzer capacity.

Advanced nuclear is not a standalone source and must operate through “steam” generator. This behavior is explained in the manual entry for “steam”.

CO2 COEFFICIENTS BASED ON https://www.eia.gov/environment/emissions/co2_vol_mass.php

CONVERTED TO APPROPRIATE UNITS

Coal:

Cost: $3200/kw CAPEX, $40/kw/yr OM not including fuel

Production: Load following (50-100%). Will dispatch for batteries.

Simple model of coal technology.

Coal co2 coefficient = (323.19 / 0.43) g/kwh

Yearly coal cost determined by 43% thermal efficiency alongside utilization and scenario based coal cost.

Gas turbine:

Cost: $800/kw CAPEX, $14/kw/yr OM not including fuel

Production: Load following (0-100%). $(gas turbine charginess) percent of gas turbine capacity will dispatch in order to help charge batteries, the rest will NOT.

Simple model of gas turbine technology. Automatically added as necessary to ensure supply, the simulator does not understand capacity shortfalls. Dispatched when no energy storage or other sources are available. Carbon intensity defined by thermal efficiency of 40% with EIA natural gas coefficient of 178.1 g/kwh. A small thermal efficiency penalty is applied for high ramping

Carbon Capture%: This percentage of turbines will have 3x the capital expense and require 1.4x as much natural gas. 90% of CO2 emissions subtracted, however 1.4x higher fuel usage offsets this to 86% total reduction in emissions.

Hydrogen and biogas offset natural gas use, negating its CO2 emissions and cost. Biogas CO2 offset not negate CCS subtraction, negative emissions are possible. Whenever hydrogen is available in energy storage, it take priority over natural and biogas in non CCS gas turbines. Hydrogen will never be used in CCS gas turbines.

Steam:

Cost: $900/kw CAPEX, $22/kw/yr OM not including fuel

Production: Based on gas turbine dispatch, complex. 20% minimum.

General purpose steam generator. Can use thermal storage, Advanced Nuclear, or gas turbine “waste heat” as heat source.

Dispatches when gas turbine is dispatched, and then displaces it. Advanced Nuclear has associated “steam” capacity that runs constant, and does not follow the smarter dispatcher behavior. Advanced nuclear associated capacity will only throttle down if advanced nuclear is charging thermal storage.

For example, if you have 30 GW of gas turbines dispatched and 8 GW of steam available unassociated with advanced nuclear, then 22 GW of gas turbine will actually run and 8 GW of steam will run unless there is insufficient “heat”. In this case there is sufficient heat, because of all the gas turbines running.

Can generate 60% of a given gas turbines power output, when running off gas turbine

Draws stored energy from thermal storage

Draws energy from Advanced Nuclear.

Will force gas turbines to run if there is insufficient Advanced Nuclear to keep it running at its minimum 20% throttle. This 20% minimum throttle component will not draw energy from thermal storage.

STORAGE

Battery:

Cost: scenario dependent.

Simple model of real life battery or pumped hydro technology. Charged with 100% round trip efficiency by all energy sources, no special facilities required to release energy. Stored energy can be released at any rate. Gas turbines will not be dispatched until Battery storage is depleted, unless they are running to charge it (explained in gas turbine section). If full, excess electricity is diverted to charging Thermal Storage. Advanced Nuclear cannot charge battery, as its priority storage technology is Thermal Storage.

Thermal Storage:

Cost: $25/kwh.

Simple model of molten salt thermal energy storage. Charged with 40% round trip efficiency by most energy sources, energy released by steam capacity in accordance with the behavior explained in its section of the manual. Advanced Nuclear energy will charge this source with 100% round trip efficiency. If full, excess electricity is diverted to Electrolyzer Capacity.

Slider is logarithmic rather than linear.

Electrolyzer:

Cost: scenario dependent kw. $2/kwh hydrogen storage. $2.5/kw/yr

Charged with (average non CCS gas turbine efficiency)*0.7*100% by all energy sources except advanced nuclear. Energy released by gas turbines. Advanced Nuclear will produce hydrogen at 150%*(gas turbine efficiency) for up to 1/3 of electrolyzer capacity to imitate high temperature electrolysis. This is the final form of energy storage, all energy that cannot be captured by this source is wasted. Electrolyzer lifespan is a variable determined by scenario. The cost of replacing the electrolyzer given the number of usable full-power-hours is converted to a per MMBTU cost for the hydrogen and added to the gas turbine fuel costs.

Slider for H2 storage is logarithmic rather than linear.

Steam Methane Reforming:

Cost: $2400 kw h2 equivalent @ 40% gas turbine efficiency. $2/kwh hydrogen storage. $40/kw/yr

Charges hydrogen storage at constant rate, assuming (70% reformer efficiency) * (avg gas turbine efficiency). Natural gas and biogas are paid for assuming this rate in addition to OM cost. Reformer will turn off if hydrogen storage is filled. Generates CO2, but 100% is subtracted by carbon capture. This will use biogas and this will not effect the carbon capture subtraction, negative emissions are possible.

Slider for H2 storage is logarithmic rather than linear.

NON SCENARIO COST ASSUMPTIONS (not all variables used, if its not mentioned in manual its probably unused):

static var flexibledemandfraction = 0.3

static var demandflexibilitytimelimit = 12

static var uraniumyearlycost = 42.50

static var HumanLifeCost = 5000000

static var GasAirPollutionToll = 2

static var DoHumanMortality = 0

static var base_steam_min_throttle = 0.2

static var PowerRationIncentive = 5000

static var HydroElectricCapex = 3000

static var HydroElectricOM = 60

static var HydroElectricResourceDistance = 250

static var DistributedSolarCapex = 2200

static var DistributedBatteryCapex = 320

static var CoalCapex = 3200

static var CoalOM = 40

static var GasCapex = 800

static var GasLifespan = 50

static var GasOM = 14

#return GasMBtuCost * pow(1.01, x)

static var GasTurbineEfficiency = 0.40

static var SteamCapex = 900

static var Steamlifespan = 50

static var SteamThermalAuxBoilerCost = 300

static var SteamOpex = 22

static var ThermalStorageCapex = 25

static var ThermalStoragelifespan = 40

static var ThermalStorageLossRate = 1.2

static var HyroTurbineCostAdd = 0.3

static var ElectrolyzerOM = 2.5

static var CCScostModifier = 3

static var HydrogenStorageCost = 2

static var HVDCCapex = 1.25 #Dollars per ilowatt kilometer

static var HPIPECapex = 0.125 / GasTurbineEfficiency

static var HVDCOM = 0.16

static var HPIPEOM = 0.01 / GasTurbineEfficiency

static var SteamReformerCapex = 2400 #Per kilowatt of hydrogen equivilant

static var SteamReformerOM = 40 #Per kilowatt year of hydrogen equivilant

static var Interconnectcost = 120

Interconnect cost actually is used, $120/kw is added to everything connected including electrolyzers

TRANSMISSION COSTS ARE CALCULATED ACCORDING TO THIS MODEL:

Grid size:

var AvgDistance =  sqrt((LandUse() * 200)/3.14) * 0.66 #For transmission loss

AvgDistance = AvgDistance + (60 * (CoalCapacity + LWRNuclearCapacity + SFRNuclearCapacity + GetGasTurbineCapacity()))

AvgDistance = AvgDistance / 2

#print(str(AvgDistance) + "#3")

var GwSize = SolarCapacity + WindCapacity + ThermalBatterySteamCapacity + LWRNuclearCapacity + GetGasTurbineCapacity() + CoalCapacity

if (GwSize >= 1):

GwSize = 1 + (0.2 * ((SolarCapacity + WindCapacity + ThermalBatterySteamCapacity + LWRNuclearCapacity + GetGasTurbineCapacity() + CoalCapacity) - 1))

if (GwSize <= 1):

GwSize = 1

return AvgDistance * GwSize #In kilowatt-kilometers

This is then multiplied by transmission cost variables given above. Hydropower is excluded, and given its own transmission cost based on its own avg distance (given as HydroElectricResourceDistance) times hydroelectric capacity.

A similar function is used to penalize hydrogen pipelines.

Avg distance given by:

sqrt((LandUse() * 200)/3.14) * 0.66

Land use given by:

40 * ((0.03 * (LWRNuclearCapacity + SFRNuclearCapacity + ThermalBatterySteamCapacity + GetGasTurbineCapacity())) + (1.2 + CoalCapacity) + (9.6 * SolarCapacity) + (29 * WindCapacity))

(This is objectively wrong but its seems to generate a reasonable cost penalty. It needs to be fixed at some point.)

Interest rate calculation:

var P = mathlib.GetCAPEX()

var i = mathlib.interestrate / 12

var n = (40 or 80) * 12

var actualcost = (P * (i * pow((1 + i), n))) / (pow((1 + i), n) – 1)

INTERFACE:

Right click: Drag Cameria

Left click: Drag slider/click button

Scroll: Zoom Camera

Red line: Demand

Yellow line: Solar power

Light blue: Wind power

Green: Sum of Conventional Nuclear/Wind/Hydro/Solar production

Purple: Stored Energy (Battery + Pumped Hydro)

Dark blue: Gas turbine output

Pale Purple: Gas turbine heat recovery steam generator output.

White: Advanced Nuclear + minimum gas turbine output

Brown: Coal production

Orange: Thermal energy storage charge

Cyan: Hydrogen stored (same units as other energy storage)

Calculations are performed when slider is released. After dragging a slider, please wait for numbers to update before attempting to do anything else as the simulator will be frozen during this time. This may take up to 15 seconds depending on your machine.

PARAMETERS:

Renewable subsidy:

Subtracted from cost 40 or cost 80 for percentage of hydro, wind, and solar production. Suggested values: 0, 1.5, 3. Based on renewable energy production tax credits.

Investment subsidy:

Percentage of cost of batteries, nuclear, and advanced nuclear made FREE!

Suggested values:

0, 25, 50 percent.

Interest rate:

Interest rate used to model cost of financing. Loan assumed to be paid off over length of simulation (40 or 80 years). Suggested values are 3, 5, or 7 percent.

CO2 cost:

Penalty for emitting carbon dioxide, based on carbon taxes or social cost of carbon calculations. Suggested values 0, 30, 60, 180, or 300 dollars per ton. How the simulator goes from from g co2/kwh and $/ton to c/kwh is a unit conversion calculation.